## Sheet1
base_room | room_name | source_code | unit_code | unit_label | Requirement
H:01 | TROLLEY STORAGE (LR10) | LR10 | LR10 | TROLLEY STORAGE | 19
H:02 | PACKING AREA (HR11/5-6) | HR11/5-6 | HR11/5 | PACKING AREA UC.5 | 18
H:02 | PACKING AREA (HR11/5-6) | HR11/5-6 | HR11/6 | PACKING AREA UC.6 | 18
H:03 | TROLLEY & TREY WASH UP (HR13) | HR13 | HR13 | TROLLEY & TREY WASH UP | 19
H:03 | TROLLEY & TREY WASH UP (HR14) | HR14 | HR14 | TROLLEY & TREY WASH UP | 19
H:04 | BLAST CHILLER 1 (HR3) | HR3 | HR3 | BLAST CHILLER 1 | 10
H:05 | BLAST CHILLER 2 (HR4) | HR4 | HR4 | BLAST CHILLER 2 | 10
H:06 | BLAST CHILLER 3 (HR5) | HR5 | HR5 | BLAST CHILLER 3 | 10
H:07 | HOLDING CHILLER (HR1) | HR1 | HR1 | HOLDING CHILLER | 4
H:08 | BLAST CHILLER 4 (HR6) | HR6 | HR6 | BLAST CHILLER 4 | 10
H:09 | BLAST CHILLER 5 (HR7) | HR7 | HR7 | BLAST CHILLER 5 | 10
H:10 | HOLDING CHILLER (HR2) | HR2 | HR2 | HOLDING CHILLER | 4
H:11 | HR UTENSIL WASH UP (HR12) | HR12 | HR12 | HR UTENSIL WASH UP | 10
H:12 | HR UTENSIL (HR19) | HR19 | HR19 | HR UTENSIL | 10
H:13 | VACUUM PACKING (HR18) | HR18 | HR18 | VACUUM PACKING | 10
H:14 | AIR BLAST FREEZER (HR17) | HR17 | HR17 | AIR BLAST FREEZER | -31
H:15 | HR ROOM (HR10) | HR10 | HR10 | HR ROOM | 10
H:16 | LABEL PAINTING (HR9) | HR9 | HR9 | LABEL PAINTING | 10
H:17 | UV ENT & PACKING STORE (HR8) | HR8 | HR8 | UV ENT & PACKING STORE | 10
H:18 | PACKING AREA (HR11/1-2) | HR11/1-2 | HR11/1 | PACKING AREA UC.1 | 9
H:18 | PACKING AREA (HR11/1-2) | HR11/1-2 | HR11/2 | PACKING AREA UC.2 | 9
H:18 | PACKING AREA (HR11/3-4) | HR11/3-4 | HR11/3 | PACKING AREA UC.3 | 10
H:18 | PACKING AREA (HR11/3-4) | HR11/3-4 | HR11/4 | PACKING AREA UC.4 | 10
H:19 | DAILY COLD ROOM UC.1 (HR15/1) | HR15/1 | HR15/1 | DAILY COLD ROOM UC.1 | 10
H:19 | DAILY COLD ROOM UC.2 (HR15/2) | HR15/2 | HR15/2 | DAILY COLD ROOM UC.2 | 10
L:01 | INCOMING WAREHOUSE (IW17/1-2) | IW17/1-2 | IW17/1 | INCOMING WAREHOUSE UC.1 | 8
L:01 | INCOMING WAREHOUSE (IW17/1-2) | IW17/1-2 | IW17/2 | INCOMING WAREHOUSE UC.2 | 8
L:03 | GRN. OFFICE (IW23) | IW23 | IW23 | GRN. OFFICE | 10
L:04 | FROZEN DE-BOX (IW15) | IW15 | IW15 | FROZEN DE-BOX | 9
L:05 | ALLERGEN DE-BOX (IW12) | IW12 | IW12 | ALLERGEN DE-BOX | 8
L:06 | NON ALLERGEN/CHILLED DE-BOX (IW11) | IW11 | IW11 | NON ALLERGEN/CHILLED DE-BOX | 3
L:07 | INCOMING WAREHOUSE 2 (LR29/1-2) | LR29/1-2 | LR29/1 | INCOMING WAREHOUSE 2 UC.1 | 7.5
L:07 | INCOMING WAREHOUSE 2 (LR29/1-2) | LR29/1-2 | LR29/2 | INCOMING WAREHOUSE 2 UC.2 | 7.5
L:08 | ALLERGEN 1 (IW20) | IW20 | IW20 | ALLERGEN 1 | 20
L:09 | A/C STORE (IW21) | IW21 | IW21 | A/C STORE | 20
L:10 | NON-ALLERGEN (IW19/1-2) | IW19/1-2 | IW19/1 | NON-ALLERGEN UC.1 | 19
L:10 | NON-ALLERGEN (IW19/1-2) | IW19/1-2 | IW19/2 | NON-ALLERGEN UC.2 | 19
L:11 | INCOMING WAREHOUSE (IW16/1-2) | IW16/1-2 | IW16/1 | INCOMING WAREHOUSE UC.1 | 9
L:11 | INCOMING WAREHOUSE (IW16/1-2) | IW16/1-2 | IW16/2 | INCOMING WAREHOUSE UC.2 | 9
L:12 | CHILLED (IW9) | IW9 | IW9 | CHILLED | 3
L:13 | CHILLED (IW8) | IW8 | IW8 | CHILLED | 3
L:14 | ANTE ROOM (IW27) | IW27 | IW27 | ANTE ROOM | -5
L:15 | CHICKEN FREEZER (IW3/1) | IW3/1 | IW3/1 | CHICKEN FREEZER UC.1 | -25
L:15 | CHICKEN FREEZER (IW3/2) | IW3/2 | IW3/2 | CHICKEN FREEZER UC.2 | -25
L:16 | ANTE ROOM (IW28) | IW28 | IW28 | ANTE ROOM | -5
L:17 | SEAFOOD FREEZER (IW1/1) | IW1/1 | IW1/1 | SEAFOOD FREEZER UC.1 | -23
L:17 | SEAFOOD FREEZER (IW1/2) | IW1/2 | IW1/2 | SEAFOOD FREEZER UC.2 | -23
L:18 | CHICKEN FREEZER (IW2/1) | IW2/1 | IW2/1 | CHICKEN FREEZER UC.1 | -23
L:18 | CHICKEN FREEZER (IW2/2) | IW2/2 | IW2/2 | CHICKEN FREEZER UC.2 | -23
L:20 | FROZEN DE-BOX (IW13/1) | IW13/1 | IW13/1 | FROZEN DE-BOX UC.1 | 8
L:21 | RORRIDOR (UC-IW30/1) | UC-IW30/1 | UC-IW30/1 | RORRIDOR UC.1 | 9
L:21 | RORRIDOR (UC-IW30/2) | UC-IW30/2 | UC-IW30/2 | RORRIDOR UC.2 | 9
L:21 | RORRIDOR (UC-IW30/3) | UC-IW30/3 | UC-IW30/3 | RORRIDOR UC.3 | 9
L:22 | TROLLEY STORAGE (IW22) | IW22 | IW22 | TROLLEY STORAGE | 23
L:23 | TROLLEY WASH UP (LR15) | LR15 | LR15 | TROLLEY WASH UP | 19
L:24 | RICE ROOM (IW26) | IW26 | IW26 | RICE ROOM | 20
L:25 | WET DECANTING (IW25) | IW25 | IW25 | WET DECANTING | 20
L:26 | WET GRINE (IW24) | IW24 | IW24 | WET GRINE | 18
L:27 | FROZEN DE-BOX (IW14) | IW14 | IW14 | FROZEN DE-BOX | 8
L:28 | NON ALLERGEN/CHILLED DE-BOX (IW10) | IW10 | IW10 | NON ALLERGEN/CHILLED DE-BOX | 3
L:29 | CHICKEN DEFROST 1 (IW4/1) | IW4/1 | IW4/1 | CHICKEN DEFROST 1 UC.1 | 3
L:29 | CHICKEN DEFROST 1 (IW4/2) | IW4/2 | IW4/2 | CHICKEN DEFROST 1 UC.2 | 3
L:30 | CHICKEN DEFROST 2 (IW5/1) | IW5/1 | IW5/1 | CHICKEN DEFROST 2 UC.1 | 3
L:30 | CHICKEN DEFROST 2 (IW5/2) | IW5/2 | IW5/2 | CHICKEN DEFROST 2 UC.2 | 3
L:31 | SEAFOOD DEFROST (IW6/1) | IW6/1 | IW6/1 | SEAFOOD DEFROST UC.1 | 3
L:31 | SEAFOOD DEFROST (IW6/2) | IW6/2 | IW6/2 | SEAFOOD DEFROST UC.2 | 3
L:33 | LR WESTE OUT (LR6) | LR6 | LR6 | LR WESTE OUT | 9
L:34 | STORAGE NON ALLERGEN (LR19) | LR19 | LR19 | STORAGE NON ALLERGEN | 19
L:35 | WASHING NON ALLERGEN (LR13) | LR13 | LR13 | WASHING NON ALLERGEN | 19
L:36 | STORAGE ALLERGEN (LR18) | LR18 | LR18 | STORAGE ALLERGEN | 19
L:37 | WASHING ALLERGEN (LR12) | LR12 | LR12 | WASHING ALLERGEN | 19
L:38 | EQUIPMENT TROLLEY WASH UP (LR16) | LR16 | LR16 | EQUIPMENT TROLLEY WASH UP | 19
L:39 | ALLERGEN WEIGH (LR17) | LR17 | LR17 | ALLERGEN WEIGH | 15
L:40 | ALLERGEN CHILLED WEIGH (LR3/1) | LR3/1 | LR3/1 | ALLERGEN CHILLED WEIGH UC.1 | 3
L:40 | ALLERGEN CHILLED WEIGH (LR3/2) | LR3/2 | LR3/2 | ALLERGEN CHILLED WEIGH UC.2 | 3
L:41 | NON ALLERGEN 2 (LR11) | LR11 | LR11 | NON ALLERGEN 2 | 15
L:42 | STAGING AREA CHILLED (LR1/1) | LR1/1 | LR1/1 | STAGING AREA CHILLED UC.1 | 2
L:42 | STAGING AREA CHILLED (LR1/2) | LR1/2 | LR1/2 | STAGING AREA CHILLED UC.2 | 2.2
L:43 | VEG TPREPARATION (LR7/1-2) | LR7/1-2 | LR7/1 | VEG TPREPARATION UC.1 | 10
L:43 | VEG TPREPARATION (LR7/1-2) | LR7/1-2 | LR7/2 | VEG TPREPARATION UC.2 | 10
L:44 | VEG CHILL (LR2/1) | LR2/1 | LR2/1 | VEG CHILL UC.1 | 3
L:44 | VEG CHILL (LR2/2) | LR2/2 | LR2/2 | VEG CHILL UC.2 | 3
L:45 | CHICKEN PREPARATION (LR8/1-2) | LR8/1-2 | LR8/1 | CHICKEN PREPARATION UC.1 | 8
L:45 | CHICKEN PREPARATION (LR8/1-2) | LR8/1-2 | LR8/2 | CHICKEN PREPARATION UC.2 | 8
L:46 | CHICKEN CHILL (LR4/1) | LR4/1 | LR4/1 | CHICKEN CHILL UC.1 | 4
L:46 | CHICKEN CHILL (LR4/2) | LR4/2 | LR4/2 | CHICKEN CHILL UC.2 | 4
L:47 | SEAFOOD PREPARATION UC.1 (LR9/1-2) | LR9/1-2 | LR9/1 | SEAFOOD PREPARATION UC.1 UC.1 | 9
L:47 | SEAFOOD PREPARATION UC.1 (LR9/1-2) | LR9/1-2 | LR9/2 | SEAFOOD PREPARATION UC.1 UC.2 | 9
L:48 | SEAFOOD CHILL (LR5/1) | LR5/1 | LR5/1 | SEAFOOD CHILL UC.1 | 3
L:48 | SEAFOOD CHILL (LR5/2) | LR5/2 | LR5/2 | SEAFOOD CHILL UC.2 | 3
L:51 | STAGING AREA CHILLED (LR20/1-2) | LR20/1-2 | LR20/1 | STAGING AREA CHILLED UC.1 | 20
L:51 | STAGING AREA CHILLED (LR20/9-10) | LR20/9-10 | LR20/10 | STAGING AREA CHILLED UC.10 | 20
L:51 | STAGING AREA CHILLED (LR20/1-2) | LR20/1-2 | LR20/2 | STAGING AREA CHILLED UC.2 | 20
L:51 | STAGING AREA CHILLED (LR20/3-4) | LR20/3-4 | LR20/3 | STAGING AREA CHILLED UC.3 | 20
L:51 | STAGING AREA CHILLED (LR20/3-4) | LR20/3-4 | LR20/4 | STAGING AREA CHILLED UC.4 | 20
L:51 | STAGING AREA CHILLED (LR20/5-6) | LR20/5-6 | LR20/5 | STAGING AREA CHILLED UC.5 | 20
L:51 | STAGING AREA CHILLED (LR20/5-6) | LR20/5-6 | LR20/6 | STAGING AREA CHILLED UC.6 | 20
L:51 | STAGING AREA CHILLED (LR20/7-8) | LR20/7-8 | LR20/7 | STAGING AREA CHILLED UC.7 | 20
L:51 | STAGING AREA CHILLED (LR20/7-8) | LR20/7-8 | LR20/8 | STAGING AREA CHILLED UC.8 | 20
L:51 | STAGING AREA CHILLED (LR20/9-10) | LR20/9-10 | LR20/9 | STAGING AREA CHILLED UC.9 | 20
L:52 | WET WASTE (LR14) | LR14 | LR14 | WET WASTE | 19
M:02 | OUTGOING WAREHOUSE (OW3/6) | OW3/5-6 | OW3/6 | OUTGOING WAREHOUSE UC.6 | 8
M:02 | OUTGOING WAREHOUSE (OW3/7) | OW3/7 | OW3/7 | OUTGOING WAREHOUSE UC.7 | 8
M:03 | AMBIENT PACKING STORE (OW4/1) | OW4/1 | OW4/1 | AMBIENT PACKING STORE UC.1 | 20
M:03 | AMBIENT PACKING STORE (OW4/2) | OW4/2 | OW4/2 | AMBIENT PACKING STORE UC.2 | 20
M:05 | MANUAL PALLETISING (OW3/1-2) | OW3/1-2 | OW3/1 | MANUAL PALLETISING UC.1 | 9
M:05 | MANUAL PALLETISING (OW3/1-2) | OW3/1-2 | OW3/2 | MANUAL PALLETISING UC.2 | 9
M:05 | MANUAL PALLETISING (OW3/3-4) | OW3/3-4 | OW3/3 | MANUAL PALLETISING UC.3 | 9
M:05 | MANUAL PALLETISING (OW3/3-4) | OW3/3-4 | OW3/4 | MANUAL PALLETISING UC.4 | 9
M:05 | MANUAL PALLETISING (OW3/5-6) | OW3/5-6 | OW3/5 | MANUAL PALLETISING UC.5 | 8
M:06 | ANTE ROOM (HR16) | HR16 | HR16 | ANTE ROOM | 10
M:07 | ANTE RM. 1 UC.1 (OW6/1) | OW6/1 | OW6/1 | ANTE RM. 1 UC.1 | -5
M:08 | FROZEN 5 HIGH 1 UC.1 (OW1/1) | OW1/1 | OW1/1 | FROZEN 5 HIGH 1 UC.1 | -23
M:08 | FROZEN 5 HIGH 1 UC.2 (OW1/2) | OW1/2 | OW1/2 | FROZEN 5 HIGH 1 UC.2 | -23
M:09 | ANTE RM. 1 UC.2 (OW6/2) | OW6/2 | OW6/2 | ANTE RM. 1 UC.2 | -5
M:10 | FROZEN 5 HIGH 2 UC.1 (OW2/1) | OW2/1 | OW2/1 | FROZEN 5 HIGH 2 UC.1 | -23
M:10 | FROZEN 5 HIGH 2 UC.2 (OW2/2) | OW2/2 | OW2/2 | FROZEN 5 HIGH 2 UC.2 | -23